PULSE-IMG-001

Radiology, Imaging, RIS/PACS & DICOM Integration Specification

Pulse Health Platform

| Document Control | Value |
| --- | --- |
| Parent documents | Pulse Master Blueprint; PULSE-ARCH-001; PULSE-DATA-001; PULSE-CLIN-001; PULSE-SAFE-001 |
| Version | 1.0 |
| Status | Imaging Subsystem Architecture & Clinical Specification |
| Subsystem | Radiology & Diagnostic Imaging |
| Audience | Radiology, Clinical Informatics, Product, Engineering, PACS/RIS Integration, QA, Safety, Revenue |
| Purpose | Define imaging order-to-report workflow and safe integration with modalities, RIS, PACS and clinical care |
| Core rule | PACS/VNA remains the diagnostic pixel authority; Pulse stores clinical orders, workflow state, study references, reports and governed viewer access |

# 1. Purpose and System Boundary

PULSE-IMG-001 defines the clinical and technical lifecycle of diagnostic imaging in Pulse: ordering, appropriateness/context, scheduling, protocoling, patient preparation, modality worklist, acquisition, study reconciliation, image availability, reporting, critical-result communication, clinician review, external studies and longitudinal access.

Pulse can provide RIS-like workflow for facilities without a dedicated RIS, or integrate with an existing RIS/PACS. Diagnostic pixel objects are not copied into the transactional EMR database. Their authoritative lifecycle remains in PACS/VNA or an approved imaging repository.

IMAGING SAFETY RULE — A report being final does not mean the responsible clinician has reviewed it, and an image being present in PACS does not mean the study is clinically complete.

# 2. Supported Imaging Domains

| Domain | Examples / considerations |
| --- | --- |
| General radiography | X-ray; laterality, portable studies, exposure metadata. |
| CT | Protocol, contrast, radiation dose, multiphase studies. |
| MRI | Safety screening, implants/devices, contrast, sequences. |
| Ultrasound | Procedure context, measurements, images/clips. |
| Mammography | Specialised workflow/reporting; may require dedicated profile. |
| Fluoroscopy | Procedure/dose documentation. |
| Interventional radiology | Procedure workflow, consent, devices, medications; overlaps theatre/procedure domain. |
| Nuclear medicine | Radiopharmaceutical/dose workflows; specialist extension. |
| Dental imaging | Specialised modality/viewing workflow. |
| External imaging | Imported prior studies, portable media, image exchange. |

# 3. Deployment Models

| Model | Imaging authority |
| --- | --- |
| Pulse + external PACS | Pulse handles order/workflow/report display; PACS owns images. |
| Pulse + RIS/PACS | RIS owns imaging operations/reporting; Pulse exchanges orders/status/reports. |
| Integrated lightweight RIS | Pulse handles scheduling/protocol/worklists/report workflow; PACS owns images. |
| Enterprise imaging/VNA | PACS/VNA stores multiple imaging domains; Pulse consumes references. |
| External provider | Pulse tracks referral order and receives report/image-access reference. |

# 4. End-to-End Imaging Lifecycle

Clinician creates imaging ServiceRequest

↓

Radiology receives order

↓

Protocol / safety / appropriateness review

↓

Schedule / prepare patient

↓

Modality Worklist

↓

Patient + order verification at modality

↓

Image acquisition

↓

Study sent to PACS/VNA

↓

Study reconciliation / QC

↓

Radiologist interpretation

↓

PRELIMINARY / FINAL report

├── critical finding → accountable escalation

└── routine → clinician result-review queue

↓

Clinical action / follow-up

# 5. Core Data Objects

| Object | Purpose |
| --- | --- |
| ImagingProcedureDefinition | Orderable imaging service/protocol family. |
| ServiceRequest | Clinical imaging order. |
| ImagingAppointment | Scheduled imaging slot. |
| ImagingProtocol | Protocoling decision/instructions. |
| ImagingSafetyAssessment | Contrast/MRI/pregnancy/device safety data. |
| ImagingStudyReference | Clinical reference to DICOM study/PACS. |
| ImagingSeriesReference | Optional series metadata. |
| ImagingReport | Preliminary/final/amended interpretation. |
| ImagingFinding | Structured critical/key finding where supported. |
| ContrastAdministration | Contrast agent/dose/route/time/reaction. |
| RadiationDoseRecord | Dose metadata/reference. |
| CriticalImagingNotification | Critical finding communication. |
| ExternalImagingImport | Imported outside study provenance/reconciliation. |
| ImagingViewerLaunch | Auditable viewer context/access event where required. |

# 6. Imaging Procedure Catalogue

| Field | Rule |
| --- | --- |
| procedure_id | Stable canonical orderable identifier. |
| display_name | Clinician-facing. |
| modality | XR/CT/MR/US/etc. |
| body_site | Expected body region. |
| laterality_requirement | Required/optional/not applicable. |
| contrast_options | None/with/without/with-and-without etc. |
| preparation | Fasting/hydration/other. |
| safety_form | Required screening template. |
| default_priority | Configurable, clinician can set allowed urgency. |
| protocol_group | Radiology protocoling category. |
| billing_code | Revenue mapping; not clinical identity. |
| terminology_mappings | Local/standard mappings. |
| status/effective_period | Version governance. |

# 7. Imaging Order Entry

Confirm patient and encounter.

Select imaging procedure/body region.

Specify laterality when applicable.

Enter clinical indication/question.

Set urgency/priority.

Enter contrast request preference where appropriate; radiology may protocol final technique.

Provide relevant safety/context information.

Attach/link prior relevant studies/results where available.

Sign order.

Route to radiology/RIS.

Order name alone is insufficient when laterality/body site is clinically relevant.

Clinical question should explain what the referrer needs answered.

Duplicate/recent study decision support may warn but should not silently cancel an order.

Order modification after protocol/acquisition uses controlled workflow.

# 8. Order States

| State | Meaning |
| --- | --- |
| Draft | Not signed. |
| Active | Signed and awaiting imaging workflow. |
| Protocol review | Radiology reviewing protocol/safety. |
| Scheduled | Appointment allocated. |
| Arrived | Patient presented. |
| In progress | Acquisition underway. |
| Images available | Study received by PACS; report may not exist. |
| Reported preliminary | Preliminary interpretation available. |
| Completed/final | Final report issued. |
| Cancelled | Cancelled with reason. |
| Entered in error | Governed invalidation. |

# 9. Protocoling

| Input | Protocol decision may include |
| --- | --- |
| Clinical indication | Technique/sequences/views. |
| Body site/laterality | Coverage and markers. |
| Prior imaging | Comparison strategy. |
| Renal/contrast context | Contrast decision per local policy. |
| Pregnancy status/context | Radiation/contrast decision pathway. |
| Implants/devices | MRI compatibility workflow. |
| Age/size | Paediatric/technical adaptation. |
| Urgency | Scheduling/prioritisation. |
| Allergy/reaction history | Contrast planning. |
| Procedure-specific factors | Sedation, anaesthesia, intervention preparation. |

Protocoling is attributable to an authorised radiology professional according to facility policy. Protocol templates are versioned.

# 10. Scheduling and Resource Management

Calendar by modality/room/device/service.

Duration templates by procedure/protocol.

Urgent/emergency slots and override workflow.

Equipment downtime blocks affected capacity.

Preparation instructions linked to appointment.

Sedation/anaesthesia/resource dependencies represented where required.

No-show/reschedule/cancellation reasons retained.

External referral appointments can link PULSE-REF-001 cases.

# 11. Patient Preparation and Safety Screening

| Area | Examples |
| --- | --- |
| Identity | Two-identifier verification. |
| Pregnancy/radiation | Configured screening where applicable. |
| MRI | Implants, devices, metal, prior surgery, safety questionnaire. |
| Contrast | Prior reaction/allergy, renal-risk context, relevant medications per policy. |
| Fasting | Procedure/contrast/sedation dependent. |
| Sedation | Consent, escort, monitoring/readiness. |
| Infection control | Isolation/cleaning considerations. |
| Mobility | Transfer/lifting/access needs. |
| Paediatric | Guardian/consent/sedation considerations. |
| IMAGING SAFETY RULE — Pulse supports safety screening but does not hard-code one universal clinical protocol; facility-approved policies and qualified professional judgement govern final imaging decisions. |  |

# 12. Modality Worklist

Where supported, the imaging integration layer provides modality worklist data derived from authorised scheduled/active orders so operators do not retype patient/order demographics.

| Worklist field | Purpose |
| --- | --- |
| Patient identifiers | Safe study association. |
| Accession/order identifier | Order-study reconciliation. |
| Procedure | Requested imaging service. |
| Body site/laterality | Operator verification. |
| Scheduled time | Workflow. |
| Referring clinician | Clinical context. |
| Priority | Urgency. |
| Location | Patient source. |
| Special instructions | Protocol/preparation where appropriate. |
| IMAGING SAFETY RULE — Manual demographic entry at modality is an exception path and requires reconciliation because it increases wrong-patient/study risk. |  |

# 13. DICOM Identity and Study Hierarchy

Patient

└── Study (StudyInstanceUID)

├── Series (SeriesInstanceUID)

│ ├── Instance / SOP Instance UID

│ └── Instance ...

└── Series ...

Pulse stores DICOM UIDs/references needed to locate the authoritative study.

Accession/order identifiers link clinical order to study.

DICOM patient demographics are reconciled against clinical identity.

UIDs are treated as opaque identifiers.

Pulse does not invent or rewrite PACS UIDs as clinical convenience.

# 14. ImagingStudyReference

| Field | Rule |
| --- | --- |
| id | Pulse reference ID. |
| patient_id | Matched canonical patient. |
| service_request_id | Order link. |
| accession_number | Imaging workflow identifier. |
| study_instance_uid | DICOM study UID. |
| pacs_endpoint_id | Authoritative repository. |
| modality | Study modality. |
| body_site/laterality | Clinical/index metadata. |
| performed_at | Study time. |
| study_status | Availability/reconciliation state. |
| source_org | Imaging organisation. |
| viewer_context | Secure launch metadata/reference, not permanent open URL. |
| external_flag | Marks outside/imported study. |
| provenance | Interface/source evidence. |

# 15. Acquisition Workflow

Operator selects patient/order from worklist.

Verify patient identity, procedure, body site and laterality.

Review protocol and safety status.

Record required pre-procedure checks.

Acquire images.

Apply correct anatomical/laterality markers according to modality practice.

Record contrast/dose/procedure details where relevant.

Send study to PACS/VNA.

Confirm study receipt and image quality/completeness.

Resolve exceptions before closing acquisition workflow.

# 16. Wrong-Patient / Wrong-Order Prevention

Prefer modality worklist over retyping.

Display patient name/ID/accession/procedure together at modality.

Reconcile DICOM demographics and accession.

Quarantine unmatched studies.

Do not auto-link solely on similar name.

Require manual authorised reconciliation for ambiguous study.

Retain original DICOM/source metadata and correction history.

Patient merge in EMR does not automatically rewrite PACS study ownership without governed imaging reconciliation.

# 17. Laterality and Body-Site Safety

Order requires laterality for applicable procedures.

Protocol/worklist carries laterality.

Operator verifies site/laterality before acquisition.

DICOM metadata and image markers are checked according to workflow.

Report preserves site/laterality.

Procedure/anatomy data conflicts generate discrepancy workflow.

A mirrored viewer display must not alter semantic laterality.

# 18. PACS / VNA Integration

| Capability | Requirement |
| --- | --- |
| Study ingest | Modalities send to PACS/VNA, not transactional EMR. |
| Query/retrieve | Pulse/viewer obtains authorised study context. |
| Study availability | PACS emits or Pulse detects availability/status. |
| Viewer launch | Contextual secure launch from patient/order/report. |
| Prior studies | Longitudinal PACS search according to identity/access. |
| Lifecycle | Retention/archive/purge owned by PACS/VNA policy. |
| Audit | Image access events available through viewer/PACS or Pulse integration. |
| High availability | Imaging archive/viewer continuity appropriate to clinical need. |

# 19. Viewer Integration

Viewer opens in correct patient/study context.

Pulse must not construct unauthorised permanent image URLs.

Viewer identity/access integrates with Pulse or approved federation.

Clinician can return to report/order without losing patient context.

Diagnostic-quality interpretation requires validated diagnostic viewer/workstation where applicable; a general web preview must not be represented as diagnostic-grade unless validated as such.

Viewer failure leaves textual report/study status accessible where possible.

# 20. Reporting Workflow

Study ready for interpretation

↓

Radiologist worklist

↓

Review images + priors + clinical indication

↓

Dictate/type structured report

↓

PRELIMINARY (optional)

↓

Verify/sign

↓

FINAL ImagingReport

├── critical/unexpected finding → escalation

└── routine → ordering/responsible clinician review

Report author and verifier are attributable.

Voice recognition output is draft until authorised sign-off.

Structured templates may be specialty/procedure-specific.

Report links to exact study/studies interpreted.

Final report is immutable except amendment/correction workflow.

# 21. Imaging Report Model

| Field | Rule |
| --- | --- |
| report_id | Stable. |
| patient_id | Required. |
| study_refs | One or more interpreted studies. |
| service_request_id | Order context. |
| status | draft/preliminary/final/amended/corrected. |
| clinical_indication | Context. |
| technique | Imaging technique/protocol summary. |
| comparison | Prior study references/dates. |
| findings | Narrative/structured findings. |
| impression | Diagnostic impression. |
| recommendations | Follow-up recommendation where appropriate. |
| author/verifier | Attributable. |
| issued_at | Release time. |
| version/supersedes | Immutable report history. |

# 22. Structured Findings and Measurements

Structured body site/laterality where clinically meaningful.

Measurements carry value/unit/method/context.

Lesion tracking may reference stable finding identifiers when supported.

Structured data supplements, not silently replaces, radiologist narrative.

Imaging findings may link to PULSE-ANAT-001 semantic anatomy, but the diagnostic image remains in PACS.

Automated measurements/AI outputs remain draft/assistive until accepted according to governance.

# 23. Preliminary Reports

Clearly labelled preliminary in all clinical views/interfaces.

Final report supersedes without deleting preliminary history.

Emergency preliminary interpretation may trigger immediate action before final report.

Material difference between preliminary and final may require re-notification according to policy.

Patient portal release of preliminary reports is separately configurable.

# 24. Critical / Urgent Imaging Findings

| Element | Requirement |
| --- | --- |
| Trigger | Radiologist marks critical/urgent finding or validated rule initiates workflow. |
| Recipient | Responsible clinician/team resolved. |
| Notification | Configured channels. |
| Acknowledgement | Explicit clinical acknowledgement. |
| Escalation | Timed backup pathway. |
| Communication detail | Finding, urgency, caller/recipient/time. |
| Read-back | Recorded where local policy requires. |
| Clinical action | Separate from communication acknowledgement. |
| Audit | Complete attempt/acknowledgement timeline. |
| IMAGING SAFETY RULE — A final report appearing in the EMR or being sent by notification does not constitute acknowledgement of a critical imaging finding. |  |

# 25. Follow-Up Recommendations

Report recommendations can be represented as structured follow-up items where appropriate.

Responsible clinician/team and due timeframe are explicit.

Recommendation completion can link to new order/appointment.

Overdue recommendations appear in follow-up work queues.

The system must distinguish radiologist recommendation from a scheduled/completed follow-up action.

# 26. Report Correction and Amendment

| Situation | Behaviour |
| --- | --- |
| Typographical/nonclinical correction | Versioned correction according to policy. |
| Material diagnostic change | Amended/corrected report + reason + re-notification. |
| Wrong patient/study | Safety incident and governed reconciliation; never casual reassignment. |
| Laterality error | Urgent correction workflow due to potential harm. |
| Additional comparison | Addendum/amendment linked to prior report. |
| Voice recognition error | Correct before final when possible; after final use amendment. |

# 27. Contrast Administration

| Field | Examples |
| --- | --- |
| agent | Contrast product. |
| route | IV/oral/other. |
| dose/volume | Structured quantity/unit. |
| lot/batch | Where traceability required. |
| administered_at | Timestamp. |
| administrator | Qualified user. |
| renal/safety context | Relevant screening result/reference. |
| reaction | None/adverse event. |
| reaction treatment | Intervention if reaction occurs. |
| wastage | Inventory/revenue where applicable. |

Contrast medication handling integrates with medication/inventory domains while preserving imaging-specific administration context.

# 28. Contrast Reaction Workflow

Recognise/document reaction.

Initiate emergency clinical response according to facility protocol.

Record contrast agent/dose/lot/time.

Record symptoms/severity and treatment.

Update allergy/adverse reaction record where clinically appropriate.

Notify responsible clinical team.

Create safety/incident record where threshold met.

Ensure future imaging workflows surface relevant reaction history.

# 29. Radiation Dose

Capture dose metadata where modality/PACS provides it.

Link dose record to study/procedure.

Preserve source units and device provenance.

Display dose information to appropriate roles without presenting unsupported clinical interpretation.

Dose analytics can support optimisation/quality programmes.

Paediatric/pregnancy/radiation governance remains facility-specific and professionally governed.

# 30. MRI Safety

| Area | Requirement |
| --- | --- |
| Implants/devices | Structured screening and compatibility decision evidence. |
| Metal/foreign body | Questionnaire/escalation. |
| Pregnancy | Configured policy workflow. |
| Contrast | Safety assessment as applicable. |
| Sedation | Readiness/monitoring dependencies. |
| Emergency scan | Documented exception pathway. |
| Screening status | Visible to modality staff; version/time/author. |
| IMAGING SAFETY RULE — A prior MRI having been completed does not automatically prove current MRI safety; implants, condition and device status may change. |  |

# 31. Interventional Radiology Boundary

Imaging order links to procedure case.

Consent, pre-procedure assessment, medications and equipment may invoke procedure/theatre workflows.

Procedure-site/laterality verification remains explicit.

Implants/devices/consumables can link inventory batch to patient/procedure.

Specimens link laboratory/pathology workflow.

Post-procedure observations and complications become clinical records.

Images remain PACS-managed.

# 32. External Imaging

| Source | Workflow |
| --- | --- |
| External PACS/network | Secure image exchange/federation. |
| CD/DVD/USB | Controlled import workstation; malware/security controls. |
| Cloud sharing link | Approved trusted exchange only. |
| Printed film/report | Document/transcription fallback; clearly non-native. |
| Patient-provided report | Source-labelled document, not automatically trusted as local final report. |

External studies retain source organisation and original identifiers.

Import reconciles patient identity before attaching to local record.

Duplicate studies are detected where possible.

Imported image does not become locally acquired merely because it is copied into local PACS.

# 33. Inter-Hospital Referral Integration

PULSE-REF-001 may include imaging reports and secure references to studies. The receiving hospital must know whether images are actually accessible before transfer/consultation.

Referral package includes study metadata and report.

Image accessibility state is explicit.

Large DICOM studies use image exchange/PACS mechanisms rather than referral payload embedding.

Receiving radiologist may create a local reinterpretation report without overwriting source report.

Source provenance remains visible.

# 34. DICOM Integration Boundary

| DICOM capability | Use |
| --- | --- |
| Modality Worklist | Order/patient scheduling context to modality. |
| Storage | Modality → PACS/VNA. |
| Query/Retrieve | Study discovery/retrieval where supported. |
| Storage Commitment | Confirmation of durable archive where implemented. |
| Performed Procedure Step | Acquisition status where implemented. |
| Structured Report | Specialised structured outputs where supported. |
| Radiation Dose SR | Dose metadata. |
| Web access | DICOMweb-style access where supported by PACS/viewer. |

Exact DICOM services and conformance are vendor/deployment specific. Each integration requires a conformance statement review and test plan.

# 35. FHIR Interoperability

| Pulse concept | FHIR-oriented representation |
| --- | --- |
| Imaging order | ServiceRequest. |
| Study metadata | ImagingStudy. |
| Report | DiagnosticReport. |
| Key measurements/findings | Observation where semantically appropriate. |
| Patient/encounter | Patient / Encounter. |
| Practitioner/organisation | PractitionerRole / Organization. |
| Documents | DocumentReference. |
| Procedure | Procedure for interventional imaging where applicable. |
| Provenance | Provenance/AuditEvent patterns. |

FHIR conveys clinical and study metadata; DICOM remains the specialised imaging standard for pixel objects and imaging workflow.

# 36. Order-to-Study Reconciliation

| Mismatch | Action |
| --- | --- |
| Study with unknown accession | Quarantine/unmatched work queue. |
| Accession matches wrong patient | Block auto-link; identity investigation. |
| Multiple studies for one order | Allow when workflow/protocol supports; otherwise review. |
| One study covers multiple orders | Explicit reconciliation if supported. |
| Cancelled order but study acquired | Preserve factual acquisition; resolve clinical/order status separately. |
| Study repeated | Link repeat reason; do not overwrite first study. |
| External study same identifiers | Source/UID reconciliation to avoid collision/duplication. |

# 37. Imaging Worklists

| Workspace | Key fields/actions |
| --- | --- |
| Scheduling | Order, priority, modality, preparation, slot. |
| Protocoling | Indication, safety, prior imaging, protocol decision. |
| Modality | Patient/order/protocol/laterality/arrival status. |
| Radiologist | Unread studies, urgency, modality, age, priors, SLA. |
| Critical findings | Open communications/escalations. |
| Unmatched studies | Identity/accession reconciliation. |
| Follow-up recommendations | Due/overdue actions. |
| External studies | Import/match/status. |
| Supervisor | TAT, backlog, modality/PACS health, downtime. |

# 38. Billing and Revenue

| Event | Revenue integration |
| --- | --- |
| Order | Estimate/pre-authorisation where applicable. |
| Scheduled | Reservation/authorisation tracking. |
| Performed study | Charge capture basis. |
| Contrast | Product/administration charge and inventory consumption. |
| Cancelled/no-show | Policy-specific charge handling. |
| Repeat due to technical failure | Governed non-patient-charge scenario. |
| External interpretation | Configured professional/service fee. |
| Report status | Clinical truth remains independent of payment. |
| IMAGING SAFETY RULE — Payment status must not rewrite whether imaging was performed or whether a clinically necessary report exists. |  |

# 39. Equipment and Maintenance Integration

Modalities link to equipment asset registry.

Planned maintenance/downtime affects scheduling capacity.

Calibration/service events are tracked by equipment module.

Study provenance includes modality/device identifiers where available.

Safety recall or device defect can support identification of affected studies.

PACS/viewer infrastructure health is monitored separately from modality availability.

# 40. Access Control

| Action | Typical policy |
| --- | --- |
| Order imaging | Authorised clinician. |
| Protocol | Radiologist/authorised radiology professional. |
| Acquire | Qualified modality staff. |
| Preliminary report | Authorised reporter. |
| Finalise report | Qualified reporting role. |
| Amend final report | Restricted reporting authority. |
| Reconcile unmatched study | Restricted imaging/identity role. |
| Import external study | Authorised imaging staff. |
| Launch viewer | Patient-record permission + clinical context. |
| Configure procedure/protocol catalogue | Radiology admin + governance. |

# 41. Audit

Order create/sign/change/cancel.

Protocol decision/change.

Safety screening and override/exception.

Appointment/reschedule/no-show.

Modality worklist/manual demographic entry.

Acquisition/study association/reconciliation.

Viewer launch/access where available.

Report draft/preliminary/final/amendment.

Critical finding communications.

External study import.

Contrast administration/reaction.

Catalogue/protocol configuration changes.

# 42. Imaging Safety Hazard Register

| ID | Hazard | Controls |
| --- | --- | --- |
| IMG-H01 | Wrong patient study | Worklist, identity verification, DICOM reconciliation. |
| IMG-H02 | Wrong body site/laterality | Structured order, protocol, operator verification, report checks. |
| IMG-H03 | MRI unsafe implant/device | Screening, compatibility review, explicit status. |
| IMG-H04 | Contrast reaction/risk missed | Safety assessment, reaction history, monitoring. |
| IMG-H05 | Critical finding unacknowledged | Accountable escalation workflow. |
| IMG-H06 | Preliminary mistaken as final | Persistent status and versioning. |
| IMG-H07 | Final report silently altered | Amendment/correction history. |
| IMG-H08 | Study exists but inaccessible | Availability state, PACS health, fallback. |
| IMG-H09 | Wrong accession auto-linked | Quarantine/manual reconciliation. |
| IMG-H10 | External study attached to wrong patient | Identity reconciliation/provenance. |
| IMG-H11 | Stale capacity/equipment status | Operational health/downtime integration. |
| IMG-H12 | Follow-up recommendation lost | Structured task/work queue. |
| IMG-H13 | Voice recognition error in final report | Review/sign and amendment. |
| IMG-H14 | Viewer not diagnostic quality used for diagnosis | Clear viewer classification/validated workstation policy. |
| IMG-H15 | Radiation/dose metadata misinterpreted | Source provenance; no unsupported clinical inference. |

# 43. Imaging Safety Requirements

| ID | Requirement |
| --- | --- |
| IMG-SR-001 | Every imaging study SHALL be reconciled to patient and order/accession context before normal clinical presentation. |
| IMG-SR-002 | Laterality SHALL remain explicit for applicable orders, studies and reports. |
| IMG-SR-003 | Pulse SHALL preserve PACS/VNA as diagnostic pixel authority. |
| IMG-SR-004 | Preliminary/final/amended report status SHALL remain visible downstream. |
| IMG-SR-005 | Critical findings SHALL have accountable acknowledgement and escalation. |
| IMG-SR-006 | Final reports SHALL be amended/corrected without destructive overwrite. |
| IMG-SR-007 | Unmatched/ambiguous studies SHALL enter exception workflow rather than auto-link. |
| IMG-SR-008 | External imaging SHALL retain source provenance. |
| IMG-SR-009 | Viewer launch SHALL preserve patient/study context and authorisation. |
| IMG-SR-010 | MRI/contrast safety state SHALL be attributable and time-contextual. |
| IMG-SR-011 | Follow-up recommendations SHALL be distinguishable from completed follow-up. |
| IMG-SR-012 | Financial state SHALL NOT alter factual imaging/report state. |

# 44. Downtime

| Failure | Safe behaviour |
| --- | --- |
| PACS unavailable | Acquisition/archive contingency per PACS plan; textual workflow shows outage. |
| RIS/Pulse unavailable | Downtime worklist/order procedure with later reconciliation. |
| Modality worklist down | Controlled manual entry with enhanced identity checks. |
| Viewer down | Report remains available; diagnostic interpretation follows approved alternative. |
| Network outage | Local modality/PACS operation where supported; queued integration. |
| Reporting system down | Controlled dictation/manual reporting fallback. |
| Critical communication system down | Direct verbal/phone escalation documented later. |
| Image exchange down | Do not imply receiver has images; use alternative approved route. |

# 45. Recovery and Reconciliation

Identify outage interval and affected systems.

Reconcile orders with acquired studies/accessions.

Resolve manually entered demographics.

Replay queued integration messages idempotently.

Confirm all studies reached durable archive.

Reconcile preliminary/final reports.

Document critical communications performed offline.

Reconcile contrast/dose records.

Review unmatched/duplicate studies.

Close downtime only after imaging leadership confirms exceptions resolved.

# 46. Performance and Availability

| Area | Requirement |
| --- | --- |
| Order/status | Clinical application latency per PULSE-NFR-001. |
| Study availability event | Prompt propagation after PACS receipt. |
| Viewer launch | Fast contextual launch; actual image load depends on study/network. |
| Large CT/MR | Progressive streaming/caching by viewer/PACS. |
| Worklists | Indexed/paginated and near-real-time for urgent cases. |
| Critical workflow | Highly available and monitored. |
| PACS | Independent availability/DR objectives appropriate to imaging service. |
| Image exchange | Resumable/retry-capable for large studies where supported. |

# 47. Observability

PACS/RIS/interface endpoint health.

DICOM message/storage failures.

Unmatched study count/age.

Order-to-study reconciliation failures.

Study-to-report turnaround.

Critical finding acknowledgement latency.

Viewer launch failure rate.

Image exchange availability/failure.

Modality downtime.

Preliminary-to-final time.

Report amendment/correction rate.

Follow-up recommendation overdue rate.

# 48. Analytics

| Metric | Use |
| --- | --- |
| Order-to-schedule | Access/capacity. |
| Arrival-to-acquisition | Operational flow. |
| Acquisition-to-final report | Reporting TAT. |
| Urgent report TAT | Safety/service level. |
| Critical acknowledgement time | Clinical safety. |
| Modality utilisation | Capacity planning. |
| No-show/cancellation | Operational improvement. |
| Repeat study rate | Quality/utilisation; interpretation requires context. |
| External referral volume | Network planning. |
| Follow-up completion | Continuity. |
| Amendment rate | Quality signal. |
| PACS/viewer downtime | Reliability. |

# 49. AI and Advanced Imaging Assistance

AI may triage worklists, suggest measurements/findings, aid segmentation or draft report content only under approved intended use.

AI output is visibly identified and source/model/version traceable.

No AI result becomes a signed report without authorised clinician workflow unless a separately governed regulatory/clinical pathway explicitly permits it.

False-negative/false-positive risk, subgroup performance, drift and workflow automation bias are assessed.

AI failure must not block ordinary image interpretation.

Generated patient-facing explanations require clinician-approved governance.

# 50. Testing Catalogue

| Family | Scenarios |
| --- | --- |
| Order | Laterality, duplicate/recent study, cancellation, modification. |
| Protocol | Contrast/MRI safety, urgent protocol, prior comparison. |
| Scheduling | Downtime, no-show, emergency insertion. |
| Worklist | Correct demographics, manual exception, stale order. |
| Acquisition | Wrong-patient attempt, repeat, multi-series. |
| PACS | Storage failure, delayed study, duplicate UID, viewer failure. |
| Reconciliation | Unknown accession, demographic mismatch, external study. |
| Reporting | Preliminary/final/amended, voice error. |
| Critical | Notification failure, escalation, acknowledgement. |
| External exchange | Large study, inaccessible link, identity match. |
| Downtime | Manual acquisition/report, replay/reconciliation. |
| Security | Cross-patient viewer access, expired link, external import. |
| Performance | Large CT/MR, concurrent worklists/viewer launches. |

# 51. Release-1 Minimum

Imaging procedure catalogue.

Order entry with indication/body site/laterality.

Radiology protocoling and scheduling.

Safety screening framework.

Modality worklist integration boundary.

Study/PACS reference and order reconciliation.

Secure contextual viewer launch.

Preliminary/final/amended report workflow.

Critical finding acknowledgement/escalation.

External study provenance/import tracking.

Referral image/report exchange boundary.

FHIR + DICOM integration architecture.

Billing/equipment integration.

Downtime/reconciliation.

RBAC/audit and IMG-SR-001 through IMG-SR-012.

# 52. Definition of Done

PACS/VNA authority is explicit and no EMR feature pretends to own diagnostic pixels.

Patient/order/study reconciliation is tested, including mismatches.

Laterality remains semantic across order, worklist, acquisition and report.

Critical findings cannot rely on passive report delivery.

Final report corrections preserve history and re-notification rules.

External imaging retains source identity/provenance.

Viewer diagnostic-use classification is clear.

Downtime and recovery have been simulated.

Imaging hazards are linked into PULSE-SAFE-001.

Representative radiologists, radiographers/technologists and referring clinicians validate workflows.

# Appendix A — CT Referral Example

Clinician orders CT abdomen/pelvis

↓ indication + contrast context

Radiology protocols study

↓

Appointment / preparation

↓

Modality worklist + patient verification

↓

CT acquisition + contrast record + dose metadata

↓

PACS receives StudyInstanceUID

↓

Radiologist reviews images/priors

↓

Final report

├── critical finding → escalation

└── routine → clinician result-review queue

# Appendix B — Critical Imaging Finding Example

CT final/preliminary interpretation

↓

Radiologist identifies time-critical finding

↓

CriticalImagingNotification

↓

Responsible clinical team resolved

↓ notify

ACKNOWLEDGED?

├── yes → clinical action documented

└── no → escalation pathway

↓

Communication evidence + report retained

# Appendix C — External Study Import

External image source

↓

Secure import/exchange

↓

Source organisation + identifiers captured

↓

Patient identity reconciliation

├── uncertain → exception queue

└── matched

↓

Import to local PACS/VNA

↓

Create ImagingStudyReference

↓

Optional local reinterpretation report

↓

Original source provenance preserved

# Appendix D — Required Follow-On Artifacts

| Artifact | Purpose |
| --- | --- |
| Imaging OpenAPI contract | Exact imaging workflow APIs. |
| DICOM conformance integration plan | Vendor-by-vendor services and test cases. |
| PACS viewer integration spec | SSO/context launch/access/audit. |
| Imaging FHIR profiles | ServiceRequest/ImagingStudy/DiagnosticReport. |
| Procedure/protocol catalogue schema | Orderables and protocol governance. |
| Imaging safety forms | MRI/contrast/pregnancy/configurable templates. |
| Critical imaging policy configuration | Urgency and escalation. |
| Downtime SOP | Imaging continuity/reconciliation. |
| Imaging safety traceability matrix | Hazards → controls → tests. |
| Imaging UI screen catalogue | Detailed role workspaces. |

# Appendix E — Architectural Boundary

Pulse owns the clinical workflow surrounding imaging. PACS/VNA owns diagnostic image objects. RIS ownership depends on deployment. This separation allows Pulse to provide one coherent patient journey without recreating a specialised imaging archive inside the EMR, while preserving DICOM-native interoperability and radiology operational integrity.