PULSE-LAB-001

Laboratory Workflow, LIS & Diagnostic Integration Specification

Pulse Health Platform

| Document Control | Value |
| --- | --- |
| Parent documents | Pulse Master Blueprint; PULSE-ARCH-001; PULSE-DATA-001; PULSE-CLIN-001; PULSE-SAFE-001 |
| Version | 1.0 |
| Status | Laboratory Subsystem Architecture & Clinical Specification |
| Subsystem | Laboratory Information & Diagnostic Workflow |
| Audience | Laboratory Leadership, Clinical Informatics, Product, Engineering, Integration, QA, Safety, Revenue, Inventory |
| Purpose | Define the end-to-end laboratory order, specimen, analysis, validation, reporting and integration lifecycle |
| Core rule | A result is not clinically final merely because an analyser produced a value; release follows configured validation and provenance rules |

# 1. Purpose and System Boundary

PULSE-LAB-001 defines laboratory workflow inside the Pulse platform and the integration boundary when an external Laboratory Information System (LIS) is authoritative. It supports clinician ordering, specimen collection, accessioning, processing, analyser integration, result capture, verification/validation, reporting, critical-result escalation, corrections, referral testing, inventory/reagent linkage and clinical review.

Pulse may provide an integrated laboratory module for facilities without a separate LIS, or operate as the EMR/order/result layer around a specialist LIS. The deployment must designate one authoritative owner for each laboratory concept to avoid duplicate or conflicting truth.

LABORATORY SAFETY RULE — An analyser output, manually keyed value, preliminary result and final validated result are different states and must remain distinguishable.

# 2. Operating Models

| Model | Description | Authority |
| --- | --- | --- |
| Integrated Pulse Lab | Pulse manages catalogue, accession, worklists, results and validation. | Pulse laboratory domain. |
| External LIS | Pulse orders tests and receives status/results from specialist LIS. | LIS owns laboratory processing/result lifecycle; Pulse stores interoperable clinical representation. |
| Hybrid | Selected disciplines in Pulse, others in external LIS/referral lab. | Authority explicitly configured per service/test. |
| Referral laboratory | Specimen/test sent to external lab; Pulse tracks chain/status and imports report. | External lab result with Pulse referral tracking. |

# 3. Laboratory Disciplines

| Discipline | Examples / special considerations |
| --- | --- |
| Clinical chemistry | Quantitative assays, reference intervals, analyser interfaces. |
| Haematology | CBC/differentials, coagulation, morphology flags. |
| Microbiology | Culture, organism identification, susceptibility, staged results. |
| Serology/Immunology | Qualitative/quantitative assays. |
| Histopathology/Cytology | Specimen parts, gross/microscopic narrative, longer workflow; may require dedicated extension. |
| Molecular diagnostics | Assay/version, qualitative/quantitative molecular results. |
| Point-of-care testing | Device/operator/location/QC governance. |
| Blood bank/transfusion | Safety-critical specialist domain; interfaces with lab but requires dedicated transfusion specification. |

This specification covers core laboratory workflow. Blood product compatibility, crossmatch, issue, transfusion administration and haemovigilance require a dedicated specialist specification rather than being treated as ordinary inventory.

# 4. End-to-End Laboratory Lifecycle

Clinician creates ServiceRequest

↓

Order accepted / routed to laboratory

↓

Specimen requirements + labels

↓

COLLECTED

↓

RECEIVED / ACCESSIONED

├── rejected → recollection / cancellation

└── accepted

↓

PROCESSING / ANALYSIS

↓

RESULT CAPTURE

↓

TECHNICAL REVIEW / VALIDATION

↓

PRELIMINARY or FINAL DiagnosticReport

↓

Clinical result-review queue

├── critical → acknowledgement + escalation

└── routine → clinician review

↓

Clinical action / follow-up

# 5. Core Data Objects

| Object | Purpose |
| --- | --- |
| LabTestDefinition | Canonical orderable test/service definition. |
| LabPanelDefinition | Orderable group with component rules. |
| SpecimenRequirement | Required specimen/container/handling. |
| ServiceRequest | Clinical order. |
| LabAccession | Laboratory case/accession grouping. |
| Specimen | Physical specimen identity and lifecycle. |
| SpecimenContainer | Tube/container/aliquot identity. |
| LabWorkItem | Bench/analyser/manual processing task. |
| ResultComponent | Atomic measured/observed result. |
| DiagnosticReport | Coherent preliminary/final report. |
| ReferenceInterval | Contextual interpretation interval. |
| CriticalValueRule | Critical threshold/qualitative trigger. |
| ResultValidation | Technical/clinical validation evidence. |
| ResultCorrection | Amend/correct history. |
| CriticalResultNotification | Escalation/acknowledgement record. |
| Analyzer | Instrument/device metadata. |
| AnalyzerInterfaceMessage | Interface transaction/provenance. |
| QualityControlRun | QC evidence where in scope. |
| ReferralLabOrder | External/reference laboratory tracking. |

# 6. Test Catalogue

| Field | Rule |
| --- | --- |
| test_id | Stable internal identifier. |
| code/display | Canonical clinician-facing test name. |
| discipline | Lab discipline. |
| orderable | Whether directly orderable. |
| result_type | numeric/text/coded/panel/narrative/etc. |
| unit | Canonical/reporting unit where fixed. |
| specimen_requirements | One or more allowed/required specimen definitions. |
| method | Method/assay metadata where clinically relevant. |
| reference_interval_set | Context-aware intervals. |
| critical_rule_set | Versioned critical thresholds. |
| turnaround_target | Operational target, not guaranteed clinical promise. |
| external_mappings | LOINC/local/analyser/LIS mappings. |
| effective_period | Version validity. |
| status | draft/active/retired. |

Catalogue changes are versioned.

Retiring a test does not invalidate historical results.

Display names may be localised without changing canonical identity.

Order synonyms support search but do not create duplicate test definitions.

# 7. Panel and Component Modelling

| Concept | Rule |
| --- | --- |
| Orderable panel | Single clinician order such as FBC/CBC or renal panel. |
| Component | Individual analyte/result. |
| Conditional component | Produced only when method/reflex criteria require. |
| Reflex test | Triggered by validated rule; must preserve trigger/rule provenance. |
| Calculated result | Derived from source components; algorithm/version retained. |
| Nested panel | Allowed only where it remains clinically/reporting coherent. |
| Panel status | May be preliminary/partial until required components complete. |
| LABORATORY SAFETY RULE — A panel cannot be marked final if required components remain unresolved unless the configured report definition explicitly permits finalisation with documented exception. |  |

# 8. Specimen Requirement

| Field | Examples |
| --- | --- |
| specimen_type | Blood, serum, plasma, urine, CSF, swab, tissue. |
| body_site | Where clinically required. |
| container | EDTA tube, fluoride oxalate, sterile container etc. |
| minimum_volume | Configured quantity/unit. |
| collection_method | Venepuncture, clean-catch, swab etc. |
| fasting/preparation | Patient preparation instructions. |
| temperature | Transport/storage requirement. |
| stability_window | Collection-to-processing constraints. |
| special handling | Protect from light, ice, immediate transport etc. |
| label_requirements | Identifiers/barcode requirements. |

# 9. Order Entry

Clinician selects patient and encounter.

Searches orderable laboratory catalogue.

Selects test/panel and urgency.

Provides clinical indication and required contextual data.

System displays specimen/preparation requirements.

Clinical decision support checks duplicates or prerequisites where configured.

Clinician signs order.

Laboratory receives work/order request.

Billing/pre-authorisation may be initiated but must not falsify clinical order state.

Standing/recurring orders require explicit schedule and expiry.

Add-on tests reference an existing suitable specimen and its stability/volume constraints.

Order cancellation records reason and whether specimen/process has already begun.

Order modification after collection may require new order or controlled add-on workflow.

# 10. Laboratory Order States

| State | Meaning |
| --- | --- |
| Draft | Not clinically committed. |
| Active | Signed and available to laboratory. |
| On hold | Temporarily held with reason. |
| Collected | Required specimen collection recorded. |
| In progress | Laboratory processing underway. |
| Partially resulted | Some components available. |
| Completed | Required reporting completed. |
| Cancelled | Order cancelled with reason. |
| Entered in error | Order invalidated through governed correction. |

# 11. Specimen Collection

Confirm patient using approved identifiers.

Confirm order/specimen requirements.

Generate/verify label and container.

Collect specimen.

Record collector, collection time, specimen type/site and relevant conditions.

Label specimen at point of collection according to facility procedure.

Record collection status and route specimen to laboratory.

If collection fails, document reason and next action.

| Exception | Behaviour |
| --- | --- |
| Patient unavailable | Collection deferred/requeued. |
| Unable to collect | Reason and escalation/retry. |
| Wrong container discovered before collection | Replace container/label; no specimen event. |
| Label mismatch | Do not proceed as normal; controlled rejection/identity process. |
| Insufficient volume | Lab acceptance/rejection decision according to test policy. |
| Timed specimen | Actual collection time is mandatory. |
| LABORATORY SAFETY RULE — Specimen identity must be established at collection; the system must not encourage pre-labelling detached from patient verification. |  |

# 12. Specimen Identification and Barcode

Specimen/container identifier is unique and machine-readable where barcode workflow is deployed.

Barcode encodes/points to opaque identifiers rather than unnecessary PHI.

Printed label includes minimum human-readable verification information per facility policy.

Reprints are audited and visibly distinguishable where required.

Aliquots derive from parent specimen with lineage.

Pooling specimens requires explicit supported workflow and provenance.

# 13. Accessioning and Receipt

Scan/search specimen identifier.

Match specimen to active order/patient.

Record laboratory receipt time/location.

Inspect specimen and transport conditions.

Accept, conditionally accept or reject according to policy.

Create/access LabAccession and work items.

Route to discipline/bench/analyser.

| Receipt issue | Possible disposition |
| --- | --- |
| Unlabelled/mislabelled | Reject or exceptional controlled process. |
| Insufficient quantity | Reject/partial testing/recollection. |
| Haemolysed/clotted/contaminated | Reject or result with qualified limitation per test policy. |
| Wrong container | Reject/recollect. |
| Excess transport time | Reject/qualify depending validated method. |
| Temperature excursion | Reject/qualify according to policy. |
| Leaking/broken | Biohazard/safety rejection. |
| Duplicate specimen | Verify whether intended repeat/additional sample. |

# 14. Specimen Rejection

| Field | Required |
| --- | --- |
| specimen_id | Yes. |
| rejection_reason | Coded + optional narrative. |
| rejected_by | Authorised laboratory user. |
| rejected_at | Timestamp. |
| affected_tests | Tests/components unable to proceed. |
| recollection_required | Yes/no/conditional. |
| clinical_notification | Where urgency/impact requires. |
| disposition | Discard/retain/other according to lab policy. |

Rejection does not delete the specimen/order history. Recollection creates a new specimen identity linked to the order/recollection reason.

# 15. Accession and Worklist Design

| Worklist dimension | Examples |
| --- | --- |
| Discipline/section | Chemistry, haematology, microbiology. |
| Bench/analyser | Instrument or manual station. |
| Urgency | Emergency/urgent/routine. |
| Specimen status | Received, pending, rejected, processing. |
| Age/TAT | Elapsed time since receipt/collection. |
| Flags | Critical patient context, recollection, interface exception. |
| Batch/run | Grouped analytical run where relevant. |
| Referral | Send-out test queue. |

Worklists prioritise urgency and ageing without hiding older routine work.

Filters must not silently exclude overdue specimens.

Assignment/claim is attributable where required.

# 16. Analyzer Integration Architecture

Pulse/LIS Order

↓

Interface Engine

↓ worklist/order message

ANALYZER / DEVICE

↓ raw result / flags / device metadata

Interface Engine

↓ validation + mapping + quarantine

Lab Result Staging

↓

Technical Review / Auto-verification if approved

↓

DiagnosticReport

## 16.1 Interface principles

Use versioned device/test mappings.

Preserve raw/source value and device code where practical.

Validate patient/specimen/order correlation.

Validate units and result type.

Duplicate messages are idempotent.

Unexpected codes/units are quarantined rather than silently coerced.

Interface health/backlog is monitored.

Manual entry remains available through controlled downtime workflow.

# 17. Result Component

| Field | Rule |
| --- | --- |
| result_id | Stable atomic result. |
| test/component_id | Canonical definition. |
| specimen_id | Source specimen. |
| value | Numeric/text/coded/boolean/etc. |
| unit | Coded unit where applicable. |
| reference_interval | Applicable interval/version/context. |
| interpretation_flag | High/low/critical/abnormal/etc. as configured. |
| method/analyzer | Provenance where relevant. |
| effective_at | Observation/result time. |
| recorded_at | System time. |
| status | preliminary/final/corrected/cancelled/etc. |
| source_value | Preserved where transformed/mapped. |
| entered_by/source | Manual user or interface/device. |

# 18. Reference Intervals

Reference intervals are versioned and may depend on age, sex, pregnancy status, specimen, method or other validated context.

Pulse must not apply a reference interval when required context is unavailable without indicating the limitation.

Historical reports retain the interval used at the time of reporting.

Changing an interval does not retrospectively reflag old final results unless a governed correction/reprocessing workflow explicitly does so.

Reference interval is not equivalent to a diagnostic threshold.

# 19. Units and Numeric Safety

Numeric values use decimal-safe representation.

Unit is stored explicitly, not inferred only from test name.

Conversions are versioned/validated and preserve source value/unit.

Unexpected unit from analyser/LIS is quarantined or reviewed.

Decimal precision/display rules are test-specific.

Impossible/out-of-range values can trigger technical validation but must not be silently altered.

# 20. Result Entry and Staging

| Source | Controls |
| --- | --- |
| Analyzer | Interface mapping, specimen/order correlation, flags, provenance. |
| Manual bench | Authenticated user, structured unit/result type, second check where policy requires. |
| Calculated | Input components + algorithm/version. |
| External/referral lab | Source organisation/report provenance and import status. |
| Point-of-care device | Device/operator/patient/QC context. |
| Transcribed paper result | Explicit transcription provenance and verification. |

# 21. Technical Validation

Review specimen integrity/status.

Review analyser/device flags.

Confirm component mapping and units.

Assess QC/run validity where relevant.

Review delta/biological plausibility rules where configured.

Repeat/re-run/dilute according to laboratory procedure.

Accept result for further validation or hold/reject.

Record validator and decision.

Validation workflow varies by discipline and facility. Pulse provides configurable stages but does not replace laboratory professional judgement.

# 22. Auto-Verification

| Requirement | Rule |
| --- | --- |
| Approved rule set | Clinically/laboratory governed and versioned. |
| Eligible tests | Explicit allow-list. |
| QC dependency | Required QC state must be valid where applicable. |
| Analyzer flags | Disqualifying flags route to human review. |
| Critical values | May require human confirmation/notification according to policy. |
| Delta checks | Configured thresholds. |
| Range/plausibility | Validated rules. |
| Audit | Rule/version and reason auto-verified. |
| Fallback | Any uncertainty routes to manual validation. |
| LABORATORY SAFETY RULE — Auto-verification is a laboratory-approved validation pathway, not simply automatic publication of analyser output. |  |

# 23. Diagnostic Report

| Field | Rule |
| --- | --- |
| report_id | Stable. |
| patient/order/accession | Required links. |
| discipline | Required. |
| status | preliminary/final/amended/corrected/cancelled. |
| results | Included atomic components. |
| interpretation | Authorised narrative where applicable. |
| validator | Qualified person/role. |
| issued_at | Report release time. |
| source | Pulse lab/external LIS/referral lab. |
| version | Immutable released version. |
| supersedes | Prior report for correction/amendment. |

# 24. Preliminary Results

Preliminary status is prominent to clinicians and patients where released.

Preliminary values are not silently replaced; final report supersedes with version history.

Microbiology and staged investigations may have multiple preliminary updates.

Clinical systems consuming preliminary results must preserve status.

Patient portal release policy may differ from clinician release.

# 25. Finalisation and Release

All required report components reach permitted completion state.

Validation requirements are satisfied.

Critical-value workflow is triggered where applicable.

Qualified validator finalises report or approved auto-verification finalises eligible report.

Immutable report version is issued.

Clinical result-review task/queue receives report.

Notifications occur according to urgency/release policy.

LABORATORY SAFETY RULE — Final report release and clinician review are separate events. A final result can still be clinically unreviewed.

# 26. Critical Values

| Element | Requirement |
| --- | --- |
| Rule set | Versioned threshold/qualitative trigger per test/context. |
| Confirmation | Repeat/verification requirements per laboratory policy. |
| Responsible recipient | Resolved clinical team/clinician, not merely generic inbox. |
| Notification | Multi-channel operational delivery as configured. |
| Acknowledgement | Explicit accountable acknowledgement. |
| Escalation | Timer and backup recipients. |
| Read-back | Supported/recorded where facility policy requires verbal communication. |
| Action | Clinical action is separate from acknowledgement. |
| Audit | Result, notifier, recipient, attempts, acknowledgement, timestamps. |
| Critical result validated |  |
| ↓ |  |
| CriticalResultNotification created |  |
| ↓ |  |
| Responsible clinician/team resolved |  |
| ↓ notify |  |
| ACKNOWLEDGED? |  |
| ├─ yes → clinical review/action tracked |  |
| └─ no → escalation timer |  |
| ↓ |  |
| backup clinician / ward / consultant |  |
| ↓ |  |
| repeat until policy terminal/escalation |  |
| LABORATORY SAFETY RULE — Push/SMS/email delivery receipt is not clinical acknowledgement. |  |

# 27. Clinical Result Review

Results appear in responsible clinician/team work queue.

Queue persists after encounter discharge/closure.

Clinician can acknowledge/review, communicate with patient, create medication/order/referral/follow-up actions.

Critical results require the stricter critical workflow.

Result review state is distinct from report finalisation.

Reassigned responsibility is attributable.

Overdue review metrics are monitored.

# 28. Corrected and Amended Results

| Situation | Required behaviour |
| --- | --- |
| Data entry error | Corrected report/result with reason; original retained. |
| Analyzer/interface mapping error | Quarantine affected results; assess cohort; issue corrections. |
| Interpretive narrative change | Amended report with author/reason. |
| Patient/specimen misidentification | Safety incident; invalidate/correct through governed process; do not casually reassign. |
| Reference interval display error | Assess clinical impact and correct report/display with audit. |
| Late additional component | Addendum/amended/final update according to report policy. |

Clinicians who previously reviewed materially changed results may require re-notification.

Patient portal shows correction/amendment clearly.

Correction events link to incident/CAPA where safety-relevant.

# 29. Microbiology Extension

| Concept | Specification |
| --- | --- |
| Specimen/site | Strong specimen type/body-site/source semantics. |
| Culture status | No growth/pending/growth/preliminary/final. |
| Organism | Coded organism identity where available. |
| Colony/quantity | Structured where method supports. |
| Susceptibility | Antimicrobial + interpretation + method/standard/version. |
| Stages | Gram stain → preliminary culture → identification → susceptibility → final. |
| Critical organism | Triggers critical-result/infection-control workflow as configured. |
| Comments | Method/contamination/clinical interpretation. |
| Public health | Reportable disease integration is jurisdiction/configuration specific. |

Microbiology result structures must support multiple organisms and multiple antimicrobial susceptibility results without flattening the report into unstructured text.

# 30. Histopathology/Cytology Boundary

Support accession, specimen parts/containers, status and final narrative report at minimum.

Gross description, blocks/slides, microscopic findings, synoptic cancer reporting and digital pathology may require a dedicated AP extension.

Specimen chain-of-custody and patient/site identity remain mandatory.

Final pathology diagnosis is versioned and amendable, never destructively overwritten.

# 31. Point-of-Care Testing

| Requirement | Behaviour |
| --- | --- |
| Device identity | Registered/approved device. |
| Operator | Authenticated/authorised operator. |
| Patient | Positive patient identification. |
| QC status | Device/test QC requirements satisfied. |
| Location | Care location recorded. |
| Result | Automatically or manually captured with device provenance. |
| Connectivity failure | Local storage/reconciliation; duplicate prevention. |
| Governance | POCT coordinator/laboratory oversight as configured. |

# 32. Referral / Send-Out Testing

Laboratory determines test must be sent externally.

Select approved referral laboratory/service.

Prepare specimen and referral documentation.

Record dispatch, courier/transport and chain details.

Track expected turnaround.

Receive external result/report.

Verify patient/test/source.

Import/transcribe with explicit external provenance.

Validate/release into local clinical result workflow.

Retain source report/document.

| Status | Meaning |
| --- | --- |
| Awaiting dispatch | Specimen ready. |
| Dispatched | Left local laboratory. |
| Received externally | Acknowledged by referral lab where integrated. |
| Testing | External processing. |
| Result received | Result returned, awaiting local verification if required. |
| Released | Available to local clinical workflow. |
| Cancelled/lost | Exception requiring investigation/recollection. |

# 33. Specimen Chain of Custody

Every custody event includes specimen/container ID, from/to location or person/system, timestamp and actor.

Required especially for referral tests, pathology, forensic/special specimens and controlled workflows.

A missing custody event does not get fabricated; discrepancy is recorded.

Courier manifests may group specimens while preserving individual IDs.

# 34. Reagent and Consumable Integration

| Object | Link |
| --- | --- |
| Reagent item | InventoryItem. |
| Lot/batch | InventoryBatch. |
| Analyzer/run | Consumption/use record. |
| Expiry | Blocks/warns according to validated policy. |
| Calibration/QC material | Inventory + QC linkage. |
| Recall | Trace affected runs/results where lot-level usage is recorded. |
| Stockout | Operational alert and test availability impact. |

Laboratory inventory remains ledger-based under PULSE-INV-001. Lab workflow may reserve/consume items but must not directly edit stock balances.

# 35. Quality Control

| QC concept | Minimum capability |
| --- | --- |
| QC material | Lot, level, expiry. |
| Run | Analyzer/test/date/operator. |
| Observed value | Value/unit. |
| Target/range | Configured validated target. |
| Status | Pass/fail/held. |
| Rule evaluation | Configured laboratory QC rules. |
| Corrective action | Documented action before patient results where required. |
| Release dependency | Tests/runs can be held when QC unacceptable. |
| Audit | All changes/actions attributable. |

Detailed statistical QC, Levey-Jennings and discipline-specific rules may be implemented in Pulse or delegated to analyser middleware/LIS; authority must be explicit.

# 36. Analyzer and Equipment Registry

Instrument ID, manufacturer/model/serial, location and status.

Supported test mappings and interface configuration.

Maintenance/calibration state may integrate with equipment management.

Downtime blocks/reroutes worklist where appropriate.

Interface status is distinct from physical analyser status.

Software/firmware/interface version retained where relevant to result provenance.

# 37. Billing and Revenue Integration

| Event | Revenue behaviour |
| --- | --- |
| Order signed | May create estimated/authorisable charge depending policy. |
| Specimen collected | May confirm service initiation. |
| Test performed | Supports charge capture. |
| Test cancelled before performance | Charge reversal/cancellation policy. |
| Specimen rejected | Billing disposition configurable; clinical truth unchanged. |
| Reflex test | Charge generated only when performed/authorised per policy. |
| Referral test | External cost + patient/payer charge rules. |
| Result released | Must not be falsified/withheld in data merely to represent payment state. |
| LABORATORY SAFETY RULE — Financial status and laboratory clinical status are separate. Billing logic must not alter whether a specimen was collected, a test was performed or a result exists. |  |

# 38. FHIR Mapping

| Pulse concept | FHIR-oriented representation |
| --- | --- |
| Laboratory order | ServiceRequest. |
| Specimen | Specimen. |
| Atomic result | Observation. |
| Report | DiagnosticReport. |
| Patient | Patient. |
| Encounter | Encounter. |
| Performer | Practitioner/PractitionerRole/Organization. |
| Device/analyzer | Device where applicable. |
| Document report | DocumentReference when carrying source document. |
| Provenance | Provenance/AuditEvent patterns. |
| Critical follow-up | Task/Communication patterns as profiled. |

PULSE-FHIR-001 will define exact profiles. Internal laboratory persistence should not be forced into a one-to-one copy of FHIR resource structure.

# 39. LOINC and Terminology Mapping

LabTestDefinition/ResultComponent support versioned LOINC mappings where suitable and licensed/implemented.

Local laboratory codes remain namespaced and preserved.

Mapping includes specimen/method distinctions where they affect meaning.

A mapping may be exact, broader, narrower or unavailable; uncertainty is not hidden.

Analyzer codes map first to canonical Pulse/LIS test concepts, then to interoperability terminology.

Terminology updates are reviewed and do not silently recode historical results.

# 40. HL7 / Interface Boundary

| Integration | Purpose |
| --- | --- |
| FHIR API | Modern order/result/document interoperability. |
| HL7 v2-style messaging | Common LIS/analyser/hospital integration where deployed. |
| ASTM/device protocols | Legacy analyser/device connectivity where required. |
| Vendor API | Device/LIS-specific integration through controlled adapter. |
| File/SFTP | Legacy fallback with strict validation/audit. |
| Manual entry | Controlled fallback; explicit provenance. |

Integration adapters are isolated from the canonical laboratory domain. Transport/protocol quirks must not leak into clinical business semantics.

# 41. Data Ownership in External LIS Mode

| Concept | Authority |
| --- | --- |
| Clinical order intent | Pulse/ordering system; synchronized to LIS. |
| Accession/specimen processing | LIS. |
| Analyzer raw result | Analyzer/LIS. |
| Validation/final report | LIS. |
| Clinical longitudinal copy | Pulse receives authoritative report/result representation. |
| Clinician review | Pulse clinical workflow. |
| Critical notification | One designated authoritative workflow; avoid duplicate conflicting escalation. |
| Catalogue | Master ownership configured; synchronised/mapped. |

# 42. Laboratory Access Control

| Action | Typical privilege |
| --- | --- |
| Order test | Authorised clinician. |
| Collect specimen | Authorised collector. |
| Accession/reject | Laboratory staff. |
| Enter result | Laboratory professional/authorised technician. |
| Validate/finalise | Qualified role per facility policy. |
| Correct result | Restricted laboratory authority. |
| Configure catalogue/reference interval | Lab admin + clinical governance. |
| Configure critical rules | Lab leadership/clinical governance. |
| Manage analyser mapping | Integration/lab admin with change control. |
| View result | Patient-record permission and context. |

# 43. Audit Requirements

Order create/sign/change/cancel.

Label print/reprint.

Collection and recollection.

Receipt/accession/rejection.

Manual result entry/edit before final.

Analyzer/interface message and mapping version.

Validation/finalisation.

Critical notification attempts/acknowledgement.

Correction/amendment.

Catalogue/reference interval/critical-rule changes.

External result import/transcription.

Result access/export where required by policy.

# 44. Laboratory Safety Hazard Register

| ID | Hazard | Controls |
| --- | --- | --- |
| LAB-H01 | Wrong-patient specimen | Bedside ID, barcode, accession correlation. |
| LAB-H02 | Mislabelled/unlabelled specimen accepted | Rejection/exception policy, audit. |
| LAB-H03 | Wrong test mapping from analyser | Versioned mapping, quarantine, conformance tests. |
| LAB-H04 | Wrong unit/reference interval | Structured unit/context, validation, mapping controls. |
| LAB-H05 | Critical result not acted on | Accountable notification/acknowledgement/escalation. |
| LAB-H06 | Final result silently changed | Immutable versions, correction workflow. |
| LAB-H07 | QC failure ignored | QC release dependency/hold and audit. |
| LAB-H08 | Duplicate analyser message duplicates result | Idempotency/deduplication. |
| LAB-H09 | Interface outage hides pending results | Health/backlog monitoring, downtime queue. |
| LAB-H10 | Specimen stability exceeded | Collection/receipt timestamps and rejection rules. |
| LAB-H11 | Referral specimen/result lost | Chain/status tracking and overdue alerts. |
| LAB-H12 | Preliminary result mistaken as final | Prominent status + downstream preservation. |
| LAB-H13 | Result linked to wrong order | Specimen/order/accession constraints. |
| LAB-H14 | Manual transcription error | Verification/second check where policy requires. |
| LAB-H15 | Historical result reinterpreted by new interval | Persist interval/version used at release. |

# 45. Laboratory Safety Requirements

| ID | Requirement |
| --- | --- |
| LAB-SR-001 | Every specimen SHALL have a unique traceable identity and collection provenance. |
| LAB-SR-002 | The system SHALL preserve specimen rejection and recollection history. |
| LAB-SR-003 | Analyzer results SHALL pass configured identity/mapping/unit validation before clinical release. |
| LAB-SR-004 | Final results SHALL be corrected/amended through versioned workflow, not overwritten. |
| LAB-SR-005 | Critical results SHALL create accountable acknowledgement/escalation independent of message delivery. |
| LAB-SR-006 | Result status SHALL remain explicit through all downstream clinical views/interfaces. |
| LAB-SR-007 | Reference intervals and critical rules SHALL be versioned. |
| LAB-SR-008 | Interface retries SHALL be idempotent. |
| LAB-SR-009 | Result-review responsibility SHALL persist after encounter closure. |
| LAB-SR-010 | External/referral laboratory results SHALL retain source provenance. |
| LAB-SR-011 | Manual/transcribed results SHALL retain entry and verification provenance. |
| LAB-SR-012 | Financial state SHALL NOT alter factual laboratory clinical state. |

# 46. Downtime

| Failure | Safe workflow |
| --- | --- |
| Network outage | Local/edge orders/worklist where supported; controlled paper fallback. |
| Analyzer interface down | Analyzer continues where safe; manual/replay interface reconciliation. |
| LIS down | Downtime accession/result process; unique temporary IDs reconciled. |
| Printer/barcode down | Approved manual label process with enhanced verification. |
| Pulse unavailable | Lab follows facility downtime SOP; later reconciliation. |
| Critical result during outage | Approved direct verbal/phone escalation with later electronic documentation. |
| Referral lab interface down | Track dispatch/result through fallback and reconcile. |
| LABORATORY SAFETY RULE — Downtime recovery must not generate duplicate orders, specimens or final reports. |  |

# 47. Recovery and Reconciliation

Identify downtime period and systems affected.

Import/re-enter outstanding orders/specimens/results with downtime provenance.

Match temporary identifiers to canonical records.

Deduplicate replayed interface messages.

Resolve conflicts through laboratory-authorised review.

Confirm critical-result communications performed during outage.

Reconcile pending worklists and referral tests.

Close downtime event only after discrepancy review.

# 48. Laboratory UX Workspaces

| Workspace | Functions |
| --- | --- |
| Clinician order entry | Catalogue, indication, preparation, order sets. |
| Phlebotomy/collection | Patient queue, labels, collection, failed/recollect. |
| Specimen reception | Scan, accession, accept/reject. |
| Bench/worklist | Discipline/analyser tasks, TAT, flags. |
| Result validation | Results, flags, history/delta, QC context, validate. |
| Critical results | Open notifications, attempts, acknowledgements. |
| Referral tests | Dispatch, external status, overdue, returned report. |
| Lab supervisor | Workload, TAT, QC, interface health, exceptions. |
| Catalogue admin | Tests, panels, intervals, critical rules, mappings. |

# 49. UX Safety Requirements

Patient/specimen identifiers remain prominent at entry/validation points.

Preliminary/final/corrected status is textual and visually distinct.

Critical values do not rely on colour alone.

Manual result entry shows expected unit/result type.

Reference interval is displayed with context.

Analyzer/interface flags are not hidden by normal-range styling.

Validation screen shows prior result/delta where clinically useful.

Rejection reason and recollection need are immediately visible to collectors/clinicians.

# 50. Operational Metrics

| Metric | Purpose |
| --- | --- |
| Collection turnaround | Order-to-collection performance. |
| Specimen rejection rate | Pre-analytical quality. |
| Rejection reason distribution | Training/process improvement. |
| Receipt-to-result TAT | Laboratory performance. |
| Critical acknowledgement time | Clinical safety. |
| Corrected result rate | Quality signal. |
| Interface quarantine rate | Integration quality. |
| Analyzer downtime | Capacity/reliability. |
| Referral test overdue rate | External dependency. |
| QC failure/hold rate | Analytical quality. |
| Unreviewed result backlog | Clinical follow-up safety. |
| Recollection rate | Patient burden/process quality. |

# 51. Analytics and Governance

Laboratory analytics use stable test/component identifiers and units.

Cross-facility comparisons account for method/reference differences.

TAT definitions specify start/end events.

Quality reports distinguish pre-analytical, analytical and post-analytical phases.

Patient-level analytics remain governed by clinical/privacy access.

Research extracts preserve test method/unit/reference context needed for interpretation.

# 52. Testing Catalogue

| Family | Scenarios |
| --- | --- |
| Ordering | Panel, duplicate, cancellation, add-on, recurring. |
| Collection | Correct patient, failed draw, timed sample, reprint. |
| Reception | Reject, conditional accept, aliquot. |
| Analyzer | Normal, duplicate message, unknown code, wrong unit, outage. |
| Validation | Manual, auto-verification, QC failure, delta flag. |
| Critical | Notification success/failure, escalation, acknowledgement. |
| Correction | Corrected value, amended narrative, prior viewer re-notification. |
| Microbiology | Multiple organisms, staged report, susceptibility. |
| Referral lab | Dispatch, lost sample, delayed result, external provenance. |
| Downtime | Temporary IDs, replay, duplicate prevention. |
| Security | Role separation, catalogue change, cross-patient access. |
| Performance | Peak accession/result import/worklist load. |

# 53. Release-1 Minimum

Test/panel catalogue and specimen requirements.

Clinician order entry.

Barcode label and specimen collection.

Receipt/accession/rejection/recollection.

Laboratory worklists.

Manual result entry and analyser integration framework.

Result components, reference intervals and flags.

Validation/final DiagnosticReport.

Critical-result acknowledgement/escalation.

Corrected/amended result workflow.

Clinician result-review queue.

Referral/send-out test tracking.

FHIR/terminology mapping framework.

Billing and inventory integration boundaries.

Audit, RBAC, downtime and safety controls.

# 54. Definition of Done

Every result is traceable to patient, order, specimen, method/source and validator as applicable.

Preliminary/final/corrected states survive all integrations.

Critical results cannot disappear into passive notifications.

Analyzer mappings are versioned and tested.

Reference intervals/critical rules are governed and versioned.

Specimen rejection/recollection is fully represented.

External LIS authority is unambiguous where deployed.

Downtime/recovery is tested.

LAB-SR-001 through LAB-SR-012 have verification evidence.

Laboratory hazards are linked into PULSE-SAFE-001.

Representative laboratory professionals validate real workflows before production.

# Appendix A — Example FBC/CBC Flow

Clinician orders FBC/CBC

↓

EDTA specimen requirement + label

↓

Patient identified → blood collected

↓

Specimen received/accessioned

↓

Haematology analyser

↓

Components: Hb / WBC / Platelets / indices / differential

↓ flags

Technical validation / smear or repeat if required

↓

Final DiagnosticReport

↓

Clinician result-review queue

↓

Action / acknowledgement

# Appendix B — Example Critical Potassium Flow

Chemistry analyser result

↓

Mapping/unit/specimen validation

↓

Critical rule matched

↓

Laboratory validation/confirmation per policy

↓

Final/eligible result released

↓

CriticalResultNotification

↓

Responsible clinician/team

├── acknowledged → clinical action

└── no acknowledgement → escalation

↓

Communication/action evidence retained

# Appendix C — Example Microbiology Data Shape

| Level | Example |
| --- | --- |
| Specimen | Urine / collection date / source. |
| Preliminary | Growth detected. |
| Organism 1 | Organism identity. |
| Susceptibility | Antimicrobial A: susceptible; B: resistant; method/standard version. |
| Organism 2 | Optional second organism with own susceptibility set. |
| Final | Validated culture interpretation/report. |
| Critical/infection control | Separate trigger if configured. |

# Appendix D — Implementation Artifacts Required

| Artifact | Purpose |
| --- | --- |
| Laboratory OpenAPI contract | Exact commands/queries/errors. |
| Analyzer integration adapter spec | Device protocols, mapping and quarantine. |
| Lab catalogue schema | Tests/panels/specimen/reference/critical rules. |
| FHIR lab implementation profiles | ServiceRequest/Specimen/Observation/DiagnosticReport. |
| LOINC mapping register | Governed terminology crosswalk. |
| Critical value policy configuration | Thresholds, recipients and escalation. |
| Downtime SOP | Operational continuity/reconciliation. |
| Laboratory safety traceability matrix | Hazards → requirements → tests. |
| LIS conformance test pack | External LIS order/result scenarios. |
| Lab UI screen catalogue | Detailed role workspaces. |

# Appendix E — Blood Bank Boundary

Blood grouping laboratory results may be represented through laboratory workflows, but donor management, blood product inventory, compatibility testing, crossmatch, reservation, issue, bedside transfusion verification, reaction management and haemovigilance are safety-critical enough to require a dedicated PULSE-BLOOD specification. They must not be implemented as generic pharmacy stock or ordinary laboratory results alone.